ENGR 210/EEAP 240 Lab2

Ohm's Law

Background

In the class lectures we have discussed the fundamental electrical quantities of voltage, current and resistance.  Since these quantities are so important there are specialized instruments to measure these individually.  One of the most useful instruments that can measure all three quantities (as well as quite a few more) is called a digital multimeter (usually abbreviated to DMM).  This lab uses computer simulations (really animations) which will carry you through the process of using the Digital Multimeter and a voltage source (a power supply) to measure voltage, current and resistance to verify Ohm’s Law and to determine the behavior of resistors connected in series and parallel .

Resistors

Real resistors like the ones you will use in the lab are physically cylindrical objects which are about 1/8-th of an inch in diameter and 1/2 inch long with a wire lead coming out of each end of the cylindrical body.  The wires are for connecting the resistor into your circuit.  The actual size of the resistor will depend upon its power handling capability — the resistors you will be using in the physical lab are typically rated at 1/8-th watt.  A resistor’s value is labeled on the cylindrical body using a color code as indicated in Figure 1.

BLACK	0	0	x	1

BROWN	1	1	x	10

RED	2	2	x	100

ORANGE	3	3	x	1,000

YELLOW	4	4	x	10,000

GREEN	5	5	x	100,000

BLUE	6	6	x	1,000,000

VIOLET	7	7	x	10,000,000

GRAY	8	8	x	100,000,000

WHITE	9	9	x	-

AN OPTIONAL FOURTH BAND  INDICATES TOLERANCE (ACCURACY)

GOLD= ±5%  SILVER=±10% NO BAND INDICATED ±20%

Figure 1, Resistor Color Code

Notes:

- A graphical resistor color code “Resistance Calculator” is available on the ENGR 210 Web page (http://129.22.56.221/engr210.html) under “Tools.”

- A more detailed explanation of resistors, including how they are built, can be found in Thomas & Rosa, 2/e.

Pictures of the real lab equipment, its technical specifications and a very good tutorial on how to use the equipment can be found at the ENGR210 Web page. Follow the Lab\Workbench links to get to detailed tutorials of how the digial multimeter and power supply work.  Links to these tutorials are found immediately to the right of the picture of the HP 34401 DMM.

Protoboards and clip leads

Aside from using a DMM and power supply you will also need to learn how to make electrical circuits. In this course you will use clip leads to connect the lab equipment to your circuits which will be constructed on protoboards.  Of course these will be simulated in the simulation and there are some differences between the simulation and the real lab.  Real clips leads like you will use in the lab have a spring-loaded clip to hold a wire just like that shown in Figure 2.  To operate the clip lead you typically hold the clip between your thumb and forefingers and squeeze the clip in the direction shown below.  When you do this a wire hook comes out of the tip.  This hook can be put around a wire and, when you release your fingers, the spring-loaded clip pulls the wire against the plastic body of the clip lead providing a reliable electrical connection.  (NOTE: These clip leads are really handy to have and you might want to consider purchasing some of your own.  These and other tools can be purchased for your personal use from Electronic Stores in Glennan 309.)

Figure 2. Spring-loaded test clip (sometimes called an EZ Clip)

The actual tool boxes you will use in the lab usually have alligator clips which slip onto banana plugs as shown Figure 3.  Note that an alligator clip is so-called because it has teeth which can be used to grip a wire.  The alligator clips you have in your lab toolbox slip onto the ends of the banana clip as shown in Figure 3.  A banana plug is so called because it roughly has the shape of a banana.  This shape was mechanically designed to give a good slip-fitting electrical connection.  Banana plugs are often stacking which means that there is a jack built into the lead opposite the plug in which another banana plug can be inserted so that you can make electrical circuits with banana plugs and alligator clips.

Figure 3. Alligator clips/banana plug leads

You will also use a variety of protoboards to construct your circuits in this class.  A protoboard consists of many holes into which you can insert electrical components and wires to quickly make an electrical circuit without doing any soldering.  A typical protoboard layout is shown below.  The center section is used to connect  your electrical components and integrated circuits; the two outer sections are typically used to make power supply connections.  The holes in protoboards are normally 0.1-inch apart since this is a standard size for leads in integrated circuits.  The holes are electrically connected internally by metal electrodes as shown below. Note that these electrical connections are not necessarily apparent  on all protoboards boards.  To help you out some of the electrical connections are often shown with colored (red or blue) lines scribed on the protoboard which is typically all white plastic. The electrical connections for a typical protoboard are shown as straight lines in the drawing below.  These are under the plastic and are not apparent from the surface of the protoboard.

Figure 4. Protoboard found in lab simulation.

In a real protoboard you must be careful of the size of the wires you push into the  holes. If the wire diameter is too large it can permanently damage the electrical connector in that hole.

Some protoboards also have a set of binding posts at their edge which can be used to hold wires for connecting to a separate power supply.  These are called 5-way binding posts because they can hold wires, connectors or plugs in a variety of ways. Note that the color red always indicates a positive (+) lead and black a negative(-) or ground lead.  On some protoboards these binding posts are electrically connected to the long sections of the protoboard to allow you to quickly make power supply connections.  These are often indicated on the protoboard by colored dots or lines which correspond to the color of the connected binding post.

The computer simulations are installed on the computers in the Circuits Lab in Glennan 308. Physical access to the lab is by your CWRUid card and the account you can use on the computers is “lab” with no password.  Use the machines on your right as you enter the lab. For the next week or two while we are still enabling card access to the lab you can download the computer simulated labs from the ENGR 210 Web page to your computer and run them.  Starting at the ENGR 210 web page the simulated labs are located in Class_Info\Lab.  They can also be downloaded to your machine, the Smith computer lab or any other PC and run there.

One of the first things to do is turn on the DMM and configure it for a voltage measurement.

We now need to learn how to operate the power supply.

4. Measure voltage.

(a) DMM should indicate power supply voltage.  [Show DMM display. ]

(b) Compare voltages as indicated by power supply and DMM.  DMM is more accurate. [Show displays side by side.]

5. Measure Resistor

(a) Press Output On/Off of power supply. [Show video of display]

(b) Disconnect banana plugs from DMM.

(c) Plug red and black EZ clips into DMM HI and LO inputs respectively.

(d) Connect EZ clips to each end of a resistor. [Video should show closeup of resistor so viewer can identify resistor color codes.]

(e) Press Ω2 button on DMM.  Show displayed value of resistance. [Video should show pressing button and change in display.]

(f) Disconnect leads from resistor and press DCV button.  [Show display in video]

6. Construct simple series circuit

(a) Disconnect banana cables from power supply and replace with EZ clips.  [Video should show this in detail]

(b) Show protoboard.

(c) Place one resistor on protoboard.

(d) Connect red and black EZ clips from power supply to resistor.  [Do in detail on video.  Would like to see closeups of connections to resistor and wide angle of entire circuit]

(e) Connect red and black EZ clips from DMM to same locations as power supply connectors.  [Show DMM display.

(f) Press Connect power supply output.  Show power supply and DMM displays as this happens.  Then press Connect button to disconnect power supply.

The following video shows how to perform a current measurement.  As discussed in class the current meter MUST be in SERIES with the component whose current is to be measured.  This is shown in the video.

Note that the EZ clips are connected to the DMM; the alligator clips are connected to the power supply.  The resistor and DMM are connected in series;  the power supply is connected across this series combination.

This video repeats the above  and shows the operation of the DMM and power supply.

[CUR_0003.AVI] – Shows meter readings for current measurement.  Shows cables connected for DCI, turn on DCI on DMM, turns on PS output, shows DMM reading]

[CUR_0004.AVI] – Turn off power supply, re-wired circuit on protoboard, changed DMM connection for current measurement]

[CUR_0005.AVI] – Shows construction of series resistance circuit for current measurement on protoboard.

[CUR_0006.AVI] – Series connection for measuring current.  Shows construction of series current measurement circuit: protoboard, series connection, DMM connections, Power Supply connections, final meter reading]

(h) Press power supply connect button.  [Monitor both DMM and power supply displays.]

7. Press power supply connect button to disconnect. [Show displays.]

8. Can tape disassembly of circuit if so inclined.

Using the DMM to verify Kirchoff's Voltage and Current Laws

1. Assemble five resistors into a Wheatstone Bridge configuration (an H).  [Video can show construction of circuit but final video should be a closeup of the circuit with a closeup of each resistor to read the color codes. - Pick five resistors which are near each other, say from 500 to 2000 ohms for network.]

2. Add short wires to protoboard for power supply and ground connections.

3. Show power supply.  Turn on, connect outputs, and adjust power supply to +10 volts.  Connect power supply to protoboard with EZ clips.  [Video should show power supply adjustment, connection to protoboard.]

4. Use DMM to measure power supply voltage and voltages across ALL resistors in circuit.  [This will be pretty repetitive but we may as well record it all in video.  Be sure to show DMM display for all voltage measurements.]

5. HERE IS THE HARD ONE.  Show using DMM to measure current through each resistor AND total current from power supply.  [Since this will require rewiring for each measurement be sure to show power supply connection button being pressed before and after each re-connection. [Be VERY sure to show DMM display for each current reading.]

6. At this point we are done and will need to do a lot of editing.

Appendices

DATA AND REPORT SHEET FOR LAB 2

Part 1: Ohm's Law

Student Name (Print): 	  Student ID:

Student Signature: 	  Date:

Student Name (Print): 	  Student ID:

Student Signature: 	  Date:

Student Name (Print): 	  Student ID:

Student Signature: 	  Date:

Lab Group:

While running the software simulation labeled "Ohms_Law" please take notes and answer the following questions.  Note: To make an electrical connection drag the connector with your mouse. The clip will turn blue when you are at the connection point.

1.	Describe the procedure for turning on and using the E3631A power supply.  Just turning on the power is an unacceptable answer.

2.	Describe the procedure for turning on and using the HP 34401A multimeter to measure voltage.  Just turning on the power is unacceptable answer.

3.	Draw the electrical schematic of the circuit you have made with the resistor, power supply and multimeter.  Be sure to show the polarity and magnitude of the measured voltage across the resistor.

Measured VR=____________

4.	Describe the procedure for using the HP 34401A multimeter to measure current.  Note that you have to break the previous connection from the resistor to the negative (ground) side of the power supply to make a current measurement.

Measured IR=____________

5.	Use Ohm's Law for the previous VR and IR measurements to predict the actual resistance value.

6.	Describe the procedure for using the HP 34401A to measure resistance.

7.	What was the measured resistance? We will call this resistance R2 because it will be used later.

Measured R2=____________ 45.568 kΩ

NOTE: Don't  do the % error calculations the simulation asks you to do.

VOLTAGE DIVIDER

8.	What was the measured resistance? We will call this resistance R1 because it will be used later.

Measured R1=____________ 10.051 kΩ

9.	R1 is nominally a 10kΩ resistor.  What is the color code for a 10k resistor?

Answer: Brown-Black-Orange

10.	What was the measured value for resistor R3?

Measured R3=____________ 9.969 kΩ

11.	For Kirchoff’s Voltage Law experiment what were the measured values of Vr1, Vr2 and Vr3?

Measured Vr1=____________ 0.7768 volts

Measured Vr2=____________ 3.4721 volts

Measured Vr3=____________ 0.7604 volts.

12.	What are the calculated voltages (Vr1, Vr2 and Vr3) using the measured resistance values and the measured value of the voltage source?

Calculated Vr1=____________ 10.057/(10.057+45.568+9.969)*5.005volts = 10.057/65.594*5.005 = .76378

Calculated Vr2=____________ 45.568/(10.057+45.568+9.969)*5.005volts = 45.568/65.594*5.005 = 3.47696

Calculated Vr3=____________ 9.969/(10.057+45.568+9.969)*5.005volts = 9.969/65.594*5.005 = .76066

13.	Calculate the % error between the measured value Vr3 and the calculated value.

NOTE: % Error = 100% * (Measured_value - Calculated-value)/Calculated_value

14.	What was your calculated current through the circuit composed of R1, R2 and R3?

Answer: I=5.005volts/(R1+R2+R3)=5.005/65.594=0.07630mA

15.	What was your measured current through the circuit composed of R1, R2 and R3?

Answer: I=5.005volts/(R1+R2+R3)=5.005/65.594=0.07630mA

CURRENT DIVIDER

16.For the KCL experiment what was the measured value of current going through resistors R1, R2 and R3?

Measured Ir1=____________

Measured Ir2=____________

Measured Ir3=____________

17.	What were the calculated currents through R2 and R3?  Show your calculations.

NOTE: Don't  do the % error calculations the simulation asks you to do.

Answer:

Ir2=Iin*R3/(R2+R3)=.2743mA*9.969/(9.969+45.568)= .2743mA*9.969/(55.537 =. 04294mA

Ir3=Iin*R2/(R2+R3)=.2743mA*45.568/(9.969+45.568)= .2743mA*45.568/(55.537) =.22506mA

18.	Calculate the equivalent resistance of R2||R3?  Show your calculations.

Answer: R2||R3=9.969*45.568/(9.969+45.568)=8.1795 kΩ

19.	Using the equivalent resistance for R2||R3 what is the calculated voltage across R1?  Show your calculations.

Answer: Vr1=5.005*10.057/(8.1795+10.057)= 5.005*10.057/(18.2365)=2.76014 volt

Part 2: Resistors in Series and Parallel

In this part of the lab you will perform a simulated laboratory using a HP 34401A Digital Multimeter and various resistors to confirm the various laws governing series and parallel resistance While running the software simulation titled "Resistors" please take notes and answer the following questions.

20.	What were the measured resistances of R1 and R2?

R1=149.8Ω

R2=1521.3Ω

21.	Resistor R1 is nominally a 150Ω resistor.  What is the color code for 150Ω?

Answer: browngreen-brown

22.	Resistor R2 is nominally a 1500Ω resistor.  What is the color code for 1500Ω

Answer: brown-green-red

23.	What is the measured value of R1 and R2 in series?

Answer: 1.6711 kΩ

24.	How does this compare to the calculated value of resistors R1 and R2 in series?

Answer: they are identical.  149.8+1521.3=1671.1

25.	What is the measured resistance of R1 and R2 in parallel, i.e., R1||R2?

Answer: 136.4Ω

26.	How does this compare with the measured value of the individual resistances?

Answer: