REPORT SHEET FOR LAB6 - PART A

Student Name (Print): 	  Student ID:

Student Signature: 	  Date:

Student Name (Print): 	  Student ID:

Student Signature: 	  Date:

Lab Group:  __________________

ANSWER THE FOLLOWING QUESTIONS:

GRADING: -2 points for each question; 30 points total for this section.

Function Generator

1. Describe how you set/adjust the output frequency of the function generator

Answer:

Turn the function generator on.

Set the frequency by

pressing the frequency button,

pressing the enter button,

pressing the “1” to enter a digit, and

pressing the up/down arrows to set the frequency units

2. Referring to  in the lab: “If the maximum amplitude of the signal is 2.5 volts, and the minimum amplitude is -3 volts, what is the DC offset? Explain your answer.

ANSWER: The signal is symmetric about the DC offset.  In this case the signal amplitude is 2.5-(-3)=5.5 volts.  The center (average) value of this waveform is +2.75 volts.  The DC offset (the value of the DC source in ) is then +2.75 volts.  Many people got the sign of the offset wrong (-1/2).

3. Explain how to set the output impedance of the function generator to “high impedance”

ANSWER:

Press the SHIFT button

Press the MENU ON/OFF button

Press the Right Arrow (>) to get to D: SYS MENU

Press the down arrow until you get the message 50 OHM.

Press  the right arrow (>) until you get HIGH Z.

Press the ENTER button to select this value.

4. Using , explain what setting the output impedance of the function generator to high impedance does.

ANSWER: You have not changed R, but you have changed how the output voltage is calculated.  For example, if you placed a 50Ω load on the generator and programmed the generator in 50Ω mode to output 1 volt, then you would really got 1 volt as measured by an external meter.  However, if you put a 1000Ω (a high impedance) load at the output of the generator and you were still in 50Ω mode, almost all of the generator voltage would be developed across the load resistance because it is so much larger than the 50Ω resistance of the generator.  Programming the generator to HIGH Z will let the generator know that all of the voltage will be developed across the high impedance load and it will adjust its scale so that the programmed output is what you will really measure.  Lots of people missed this question.

5. Describe how you program the function generator to output a specified peak-peak voltage?

ANSWER:

Press the AMPL button

Press the ENTER NUMBER button

Press the “5” button to set the amplitude.

Press the up arrow to enter the amplitude

6. Describe how you program the Function Generator to output a sine waveform?

ANSWER:

Press the  button

Press the ENTER NUMBER button

Press the “5” button to set the amplitude.

Press the up arrow to enter the amplitude

Oscilloscope

1. How do you adjust the oscilloscope for a 10:1 probe at its input?

Answer:

Press the channel “1” to turn on the scope menus.

Press the button underneath the “10” below PROBE.

2. Describe how to use the oscilloscope for a calibrated peak-peak voltage measurement?

Answer:

Make sure the probe adjustment is correctly set

Press the “Voltage” button on the oscilloscope.

On the scope menu, press the button underneath “Vp-p”.

3. Describe how to use the oscilloscope for a calibrated RMS voltage measurement?

Answer:

Make sure the probe adjustment is correctly set

Press the “Voltage” button on the oscilloscope.

On the scope menu, press the button underneath “Vp-p”.

4. Explain how to calculate the RMS voltage of a 5 volt peak-peak sine wave? (no theory, just the mechanics)

Answer:	Multiply the peak value (2.5 volts) by 1/sqrt(2) to get 2.5*.707=1.7675 volts.  I was expecting a value — -1 to -2 if no value

5. Describe how to use the oscilloscope for a calibrated time measurement?

Answer:

Press the “Time” button on the oscilloscope.

On the scope menu, press the button underneath “Freq”.

6. What does the Delay knob on the oscilloscope do?

Answer: Delays the trigger to move the display across the oscilloscope screen.

7. Explain how to use the Cursors button on the oscilloscope.

Answer:

Press the “Cursors” button on the scope.

Pressing V1 will put a horizontal line on the display.

The vertical position of the horizontal line can be adjusted using the “Cursor Control” knob.

You can place vertical time lines by pressing the “t1” and “t2” buttons under the oscilloscope screen when in the cursors menu.  The position of these vertical lines can be set using the “Cursor Control” knob.

Exponential Waveforms:

1. Draw a schematic of the RC circuit you examined in this lab.

2. What frequency has a period of 10 milliseconds? (The frequency is the reciprocal of the period for any waveform.)

Answer:

f=1/10 milliseconds = 100 Hz

DATA SHEET FOR LAB6 - PART B

Student Name (Print): 	  Student ID:

Student Signature: 	  Date:

Student Name (Print): 	  Student ID:

Student Signature: 	  Date:

Lab Group:  __________________

DATA:

1. f)	fLO= _________    Hz;  fHI=_________    kHz.

RECORD ONLY IF SPEAKERS WERE AVAILABLE IN LAB

3. b)	What happened?

ANSWER: should have gone out of sync since you were triggering on another, in this case non-existent, signal.

3. c)	What happened?

ANSWER: The display again goes out of sync.

4. b)	VMAX	= _________ Volts

VTOP	= _________ Volts

VMIN	= _________ Volts

VBOTTOM	= _________ Volts

Overshoot:

tRISE	= _________ Seconds

tFALL	= _________ Seconds

4. c)	frequency	= _________ Hz

period	= _________ seconds

duty cycle	= _________ %

4. d)	pulse width	= _________ Hz

pulse period	= _________ seconds

5. b)	Sketch of square wave measurement w/o using scope probe.

|  | Volts/div: __________ Time/div __________ |
| --- | --- |

Sketch of square wave measurement using scope probe.

|  | Volts/div: __________ Time/div __________ |
| --- | --- |

5. c)	Measurements with correctly adjusted scope probe.

VMAX	= _________ Volts

VTOP	= _________ Volts

VP-P	= _________ Volts

Measurements with mis-adjusted scope probe.

VMAX	= _________ Volts

VTOP	= _________ Volts

VP-P	= _________ Volts

6. a)	Measured slew rate of 741 op-amp: ___________ V/µs

6. b)	Frequency at which 741 output begins to drop: ______ Hz

REPORT SHEET

FOR LAB6 - PART B

Student Name (Print): 	  Student ID:

Student Signature: 	  Date:

Student Name (Print): 	  Student ID:

Student Signature: 	  Date:

Lab Group:  __________________

ANSWER THE FOLLOWING QUESTIONS:

1. Explain what happened in 3(b) when you selected Channel 2 as the signal source?

ANSWER: should have gone out of sync since you were triggering on another, in this case non-existent, signal.

2. Explain what happened in 3(c) when you varied the TRIGGER level. What happens when the trigger level exceeds the peak voltage of the sinusoid?

ANSWER: The display again goes out of sync.

3. What is the difference between Vtop and Vmax in 4(b)?

ANSWER: Vtop is some sort of average; even the manual is not clear on this.  However, Vmax is the maximum value of the waveform.  Any reasonable explanation was accepted; a numerical value was not what was asked for and one point (-1) was taken off for a numerical answer.

4. Describe how you measured the overshoot in 4(b).

ANSWER: The most elegant way was to compute Vmax - Vtop.  Overshoot is not a time; it is the amount by which the voltage waveform exceeds the expected value.

5. Calculate the duty cycle from your measurements in 4(d) and compare with the measurement result in 4(c).

ANSWER:

6. Why were your measurements different using a correctly and then a mis-adjusted scope probe in 5(c)?

ANSWER: The probe cannot respond correctly to quickly changing waveforms unless it is properly adjusted.

7. Compare your measurements for 6(a) and 6(b).  HINT: What is the maximum slew rate of a sine wave of frequency ?  Using this relationship determine the frequency of an equivalent  sine wave with the slew rate you measured in 6(a).  Also using this relationship compute the frequency of a sine wave with the slew rate you measured in 6(a).

ANSWER:   Let’s consider the circuit shown below and use it to measure the effects of maximum slew rate upon a sine wave.

This analysis was done in Electronics Workbench using their 741 op-amp model which is pretty accurate.  The circuit shown above has a gain of 1 (the exact gain is not important for this analysis), and is initially being driven by a 1 kHz sine wave of 10 volts peak amplitude. Under these conditions  the output sine wave is very well formed and looks sinusoidal as shown below.

Lets look at what happens when we increase the frequency of the sine wave to about 8 kHz as shown below.  The output still appears very sinusoidal.

This still looks fine.  So, let’s increase it to 9 kHz.

Let’s increase the generator frequency to 10 kHz.

At 10 kHz the output waveform shown above  is definitely triangular and is slew rate limited.  Let’s go to 12 kHz.

At 12 kHz the wave is very obviously triangular as shown above.  Notice also that the amplitude of the output waveform has started to drop a little.  This is approximately the frequency you should have measured in the lab.

At 15 kHz the drop in the ampltude of the output waveform is very obvious.  The relationship between slew rate and the frequency of a sinusoid was discussed in an e-mail.  Basically, dv(t)/dt=slew rate and for a sinusoid, d/dt(Acost)=Asint.  We can ignore the sinwt and just consider the waveform at its peak amplitude.  Skew rate limiting of a sine wave occurs when the op-amp’s slew rate equals A for a given sine wave.  The published slew rate for the 741 op-amp is about 0.5 volts/microsecond, or 0.5x10^6 volts/sec. The amplitude of the sine wave used in the simulation was 10 volts peak.  Let’s solve for the corresponding slew rate frequency.

0.5x10^6=(10 volts)*2**f, or f=7958 Hz.  This is about the frequency at which we first saw distortion of the sine wave and has a computed slew rate of 0.5 volts/microsecond.  The actual amplitude did not noticably drop until about 12 kHz which corresponds to a slew rate of A=(10volts)*(2**12x10^3)=753,982 volts/second=0.75 volts/microsecond.  This is not a bad estimate of the slew rate.

Comments on grading:

Part A:

This part was 30 points total.  2 points per question.

Function Generator

4. The generator will not change the output impedance; instead, it changes how it calculates it so that the programmed voltage will be correct.

Oscilloscope

7. The cursors are not used simply to measure time constant.  There are two of them and they can be used to measure voltage and time differences.  If you got these points confused or did not know that there were multiple cursors points were taken off.

Part B:

This part was 35 points total.

Most of the data collected seemed to be pretty good. There were some problems with the oscilloscope probe measurements and no points were taken off there.  However, many people were off in the slew rate measurements by many orders of m,agnitude.  The major problem seemed to be that people were using input voltages that were too small. Since no calculations or procedures were shown on most papers I had no choice but to take off points for data that was completely unreasonable.  This part cost many people 1-5 points depending upon how unbelieveable or how undocumented the answer was.  Very few points were taken off elsewhere.

Part C:

This part was 35 points total.  Each question was 5 points.